## conversion
Description:
Copy the current table from 'https://tasmota.github.io/docs/GPIO-Conversion/' to the gray part of this table. If necessary adjust the gpio data in the non-grey part. then copy the values in the column 'K' into the file 'openhab.py'.
Openhab
item_types = | item types'!A1
feature muste be a empty list or a predefined object from openhab.py
meta must be a string
tags must be a string
icon must be a string
TASMOTA (https://tasmota.github.io/docs/GPIO-Conversion/)
Old GPIO | New GPIO | Name | Description | Type | feature | meta | tags | icon | Converted String for dict (copy into 'openhab.py')
255 | 1 | User | User | Number | '' | '' | '' | '' | '1':{'name':'User', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
0 | 0 | None | Not used | Number | '' | '' | '' | '' | '0':{'name':'None', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
1 | 1184 | DHT11 | DHT11 sensor | Number | '' | '' | tags_temp+tags_hum | '' | '1184':{'name':'DHT11', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':tags_temp+tags_hum, 'icon':''},
2 | 1216 | AM2301 | AM230X, DHT21 and DHT22 sensor | Number | '' | '' | tags_temp+tags_hum | '' | '1216':{'name':'AM2301', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':tags_temp+tags_hum, 'icon':''},
3 | 1248 | SI7021 | Only for Sonoff Si7021, not the i2c version | Number | '' | '' | '' | '' | '1248':{'name':'SI7021', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
4 | 1312 | DS18x20 | Dallas Semiconductor DS18b20 1-Wire temperature sensor | Number | '' | '' | '' | '' | '1312':{'name':'DS18x20', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
5 | 608 | I2C SCL | I2C serial clock pin, used with any I2C component (sensors, displays, ...) | Number | '' | '' | '' | '' | '608':{'name':'I2C SCL', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
6 | 640 | I2C SDA | I2C serial data pin, used with any I2C component (sensors, displays, ...) | Number | '' | '' | '' | '' | '640':{'name':'I2C SDA', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
7 | 1376 | WS2812 | Addressable LEDs such as WS281X or Neopixel | Dimmer | '' | '' | tags_light | 'dimmablelight' | '1376':{'name':'WS2812', 'std_type':item_types.index('Dimmer'), 'feature':'', 'meta':'', 'tags':tags_light, 'icon':'dimmablelight'},
8 | 1056 | IRsend | IR Transmitter LED | Number | '' | '' | 'IR' | '' | '1056':{'name':'IRsend', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'IR', 'icon':''},
9 | 160 | Switch1 | Switch | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '160':{'name':'Switch1', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
10 | 161 | Switch2 | Switch | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '161':{'name':'Switch2', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
11 | 162 | Switch3 | Switch | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '162':{'name':'Switch3', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
12 | 163 | Switch4 | Switch | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '163':{'name':'Switch4', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
13 | 164 | Switch5 | Switch | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '164':{'name':'Switch5', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
14 | 165 | Switch6 | Switch | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '165':{'name':'Switch6', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
15 | 166 | Switch7 | Switch | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '166':{'name':'Switch7', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
16 | 167 | Switch8 | Switch | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '167':{'name':'Switch8', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
17 | 32 | Button1 | Button | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '32':{'name':'Button1', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
18 | 33 | Button2 | Button | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '33':{'name':'Button2', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
19 | 34 | Button3 | Button | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '34':{'name':'Button3', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
20 | 35 | Button4 | Button | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '35':{'name':'Button4', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
21 | 224 | Relay1 | Relay | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '224':{'name':'Relay1', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
22 | 225 | Relay2 | Relay | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '225':{'name':'Relay2', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
23 | 226 | Relay3 | Relay | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '226':{'name':'Relay3', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
24 | 227 | Relay4 | Relay | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '227':{'name':'Relay4', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
25 | 228 | Relay5 | Relay | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '228':{'name':'Relay5', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
26 | 229 | Relay6 | Relay | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '229':{'name':'Relay6', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
27 | 230 | Relay7 | Relay | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '230':{'name':'Relay7', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
28 | 231 | Relay8 | Relay | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '231':{'name':'Relay8', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
29 | 256 | Relay1i | Relay inverted | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '256':{'name':'Relay1i', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
30 | 257 | Relay2i | Relay inverted | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '257':{'name':'Relay2i', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
31 | 258 | Relay3i | Relay inverted | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '258':{'name':'Relay3i', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
32 | 259 | Relay4i | Relay inverted | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '259':{'name':'Relay4i', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
33 | 260 | Relay5i | Relay inverted | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '260':{'name':'Relay5i', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
34 | 261 | Relay6i | Relay inverted | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '261':{'name':'Relay6i', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
35 | 262 | Relay7i | Relay inverted | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '262':{'name':'Relay7i', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
36 | 263 | Relay8i | Relay inverted | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '263':{'name':'Relay8i', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
37 | 416 | PWM1 | Pulse Width Modulated Output | Dimmer | features_light | meta_light | tags_light | 'dimmablelight' | '416':{'name':'PWM1', 'std_type':item_types.index('Dimmer'), 'feature':features_light, 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
38 | 417 | PWM2 | Pulse Width Modulated Output | Dimmer | features_light | meta_light | tags_light | 'dimmablelight' | '417':{'name':'PWM2', 'std_type':item_types.index('Dimmer'), 'feature':features_light, 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
39 | 418 | PWM3 | Pulse Width Modulated Output | Dimmer | features_light | meta_light | tags_light | 'dimmablelight' | '418':{'name':'PWM3', 'std_type':item_types.index('Dimmer'), 'feature':features_light, 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
40 | 419 | PWM4 | Pulse Width Modulated Output | Dimmer | features_light | meta_light | tags_light | 'dimmablelight' | '419':{'name':'PWM4', 'std_type':item_types.index('Dimmer'), 'feature':features_light, 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
41 | 420 | PWM5 | Pulse Width Modulated Output | Dimmer | features_light | meta_light | tags_light | 'dimmablelight' | '420':{'name':'PWM5', 'std_type':item_types.index('Dimmer'), 'feature':features_light, 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
42 | 352 | Counter1 | Counter Input | Number | '' | '' | '' | '' | '352':{'name':'Counter1', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
43 | 353 | Counter2 | Counter Input | Number | '' | '' | '' | '' | '353':{'name':'Counter2', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
44 | 354 | Counter3 | Counter Input | Number | '' | '' | '' | '' | '354':{'name':'Counter3', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
45 | 355 | Counter4 | Counter Input | Number | '' | '' | '' | '' | '355':{'name':'Counter4', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
46 | 448 | PWM1i | Pulse Width Modulated inverted Output | Dimmer | '' | meta_light | tags_light | 'dimmablelight' | '448':{'name':'PWM1i', 'std_type':item_types.index('Dimmer'), 'feature':'', 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
47 | 449 | PWM2i | Pulse Width Modulated inverted Output | Dimmer | '' | meta_light | tags_light | 'dimmablelight' | '449':{'name':'PWM2i', 'std_type':item_types.index('Dimmer'), 'feature':'', 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
48 | 450 | PWM3i | Pulse Width Modulated inverted Output | Dimmer | '' | meta_light | tags_light | 'dimmablelight' | '450':{'name':'PWM3i', 'std_type':item_types.index('Dimmer'), 'feature':'', 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
49 | 451 | PWM4i | Pulse Width Modulated inverted Output | Dimmer | '' | meta_light | tags_light | 'dimmablelight' | '451':{'name':'PWM4i', 'std_type':item_types.index('Dimmer'), 'feature':'', 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
50 | 452 | PWM5i | Pulse Width Modulated inverted Output | Dimmer | '' | meta_light | tags_light | 'dimmablelight' | '452':{'name':'PWM5i', 'std_type':item_types.index('Dimmer'), 'feature':'', 'meta':meta_light, 'tags':tags_light, 'icon':'dimmablelight'},
51 | 1088 | IRrecv | IR Receiver Input (for example TSOP1838) | Number | '' | '' | '' | '' | '1088':{'name':'IRrecv', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
52 | 288 | Led1 | LED | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '288':{'name':'Led1', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
53 | 289 | Led2 | LED | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '289':{'name':'Led2', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
54 | 290 | Led3 | LED | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '290':{'name':'Led3', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
55 | 291 | Led4 | LED | Switch | feature_binary | meta_switch | tags_switch | 'switch' | '291':{'name':'Led4', 'std_type':item_types.index('Switch'), 'feature':feature_binary, 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
56 | 320 | Led1i | Inverted LED - default state ON | Number | '' | '' | '' | '' | '320':{'name':'Led1i', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
57 | 321 | Led2i | Inverted LED - default state ON | Number | '' | '' | '' | '' | '321':{'name':'Led2i', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
58 | 322 | Led3i | Inverted LED - default state ON | Number | '' | '' | '' | '' | '322':{'name':'Led3i', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
59 | 323 | Led4i | Inverted LED - default state ON | Number | '' | '' | '' | '' | '323':{'name':'Led4i', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
60 | 1408 | MHZ Rx | MHZ 19 CO2 Sensor | Number | '' | '' | '' | '' | '1408':{'name':'MHZ Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
61 | 1440 | MHZ Tx | MHZ 19 CO2 Sensor | Number | '' | '' | '' | '' | '1440':{'name':'MHZ Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
62 | 1472 | PZEM0XX Tx | Peacefair Pzem-0XX Power Meter Tx pin | Number | '' | '' | '' | '' | '1472':{'name':'PZEM0XX Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
63 | 1504 | PZEM004 Rx | Peacefair Pzem-004 Power Meter Rx pin | Number | '' | '' | '' | '' | '1504':{'name':'PZEM004 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
64 | 1600 | SAir Rx | Sensor Senseair | Number | '' | '' | '' | '' | '1600':{'name':'SAir Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
65 | 1632 | SAir Tx | Sensor Senseair | Number | '' | '' | '' | '' | '1632':{'name':'SAir Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
66 | 768 | SPI CS | SPI Interface (ePaper Display) | Number | '' | '' | '' | '' | '768':{'name':'SPI CS', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
67 | 800 | SPI DC | SPI Interface (ePaper Display) | Number | '' | '' | '' | '' | '800':{'name':'SPI DC', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
68 | 992 | BkLight | Backlight (Display) | Number | '' | '' | '' | '' | '992':{'name':'BkLight', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
69 | 1696 | PMS5003 | PMS5003 Air Quality Sensor | Number | '' | '' | '' | '' | '1696':{'name':'PMS5003', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
70 | 1760 | SDS0X1 Rx | Nova Fitness SDS011 Laser Dust Sensor Rx pin | Number | '' | '' | '' | '' | '1760':{'name':'SDS0X1 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
71 | 1792 | SerBr Rx | Serial Bridge Receive | Number | '' | '' | '' | '' | '1792':{'name':'SerBr Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
72 | 1824 | SerBr Tx | Serial Bridge Transmit | Number | '' | '' | '' | '' | '1824':{'name':'SerBr Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
73 | 1856 | SR04 Tri | Ultrasonic Sensor HC-SR04 Trigger pin | Number | '' | '' | '' | '' | '1856':{'name':'SR04 Tri', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
74 | 1888 | SR04 Ech | Ultrasonic Sensor HC-SR04 Echo pin | Number | '' | '' | '' | '' | '1888':{'name':'SR04 Ech', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
75 | 1920 | SDMx20 Tx | SDMx20-Modbus Multifunction Power Analyser Tx pin | Number | '' | '' | '' | '' | '1920':{'name':'SDMx20 Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
76 | 1952 | SDMx20 Rx | SDMx20-Modbus Multifunction Power Analyser Rx pin | Number | '' | '' | '' | '' | '1952':{'name':'SDMx20 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
77 | 1984 | SDM630 Tx | SDM630-Modbus Multifunction Power Analyser Tx pin | Number | '' | '' | '' | '' | '1984':{'name':'SDM630 Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
78 | 2016 | SDM630 Rx | SDM630-Modbus Multifunction Power Analyser Rx pin | Number | '' | '' | '' | '' | '2016':{'name':'SDM630 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
79 | 2048 | TM16 CLK | TM1638 Switch Module | Number | '' | '' | '' | '' | '2048':{'name':'TM16 CLK', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
80 | 2080 | TM16 DIO | TM1638 Switch Module | Number | '' | '' | '' | '' | '2080':{'name':'TM16 DIO', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
81 | 2112 | TM16 STB | TM1638 Switch Module | Number | '' | '' | '' | '' | '2112':{'name':'TM16 STB', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
82 | 192 | Switch1n | Switch, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '192':{'name':'Switch1n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
83 | 193 | Switch2n | Switch, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '193':{'name':'Switch2n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
84 | 194 | Switch3n | Switch, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '194':{'name':'Switch3n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
85 | 195 | Switch4n | Switch, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '195':{'name':'Switch4n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
86 | 196 | Switch5n | Switch, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '196':{'name':'Switch5n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
87 | 197 | Switch6n | Switch, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '197':{'name':'Switch6n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
88 | 198 | Switch7n | Switch, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '198':{'name':'Switch7n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
89 | 199 | Switch8n | Switch, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '199':{'name':'Switch8n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
90 | 64 | Button1n | Button, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '64':{'name':'Button1n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
91 | 65 | Button2n | Button, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '65':{'name':'Button2n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
92 | 66 | Button3n | Button, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '66':{'name':'Button3n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
93 | 67 | Button4n | Button, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '67':{'name':'Button4n', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
94 | 384 | Counter1n | Counter sensor, no pullup resistor | Number | '' | '' | '' | '' | '384':{'name':'Counter1n', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
95 | 385 | Counter2n | Counter sensor, no pullup resistor | Number | '' | '' | '' | '' | '385':{'name':'Counter2n', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
96 | 386 | Counter3n | Counter sensor, no pullup resistor | Number | '' | '' | '' | '' | '386':{'name':'Counter3n', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
97 | 387 | Counter4n | Counter sensor, no pullup resistor | Number | '' | '' | '' | '' | '387':{'name':'Counter4n', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
98 | 1536 | PZEM016 Rx | Peacefair Pzem-016 Power Meter Rx pin | Number | '' | '' | '' | '' | '1536':{'name':'PZEM016 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
99 | 1568 | PZEM017 Rx | Peacefair Pzem-017 Power Meter Rx pin | Number | '' | '' | '' | '' | '1568':{'name':'PZEM017 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
100 | 2144 | MP3 Player | DF MP3 Player mini (Input) | Number | '' | '' | '' | '' | '2144':{'name':'MP3 Player', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
101 | 1728 | SDS0X1 Tx | Nova Fitness SDS011 Laser Dust Sensor Tx pin | Number | '' | '' | '' | '' | '1728':{'name':'SDS0X1 Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
102 | 2176 | HX711 SCK | HX711 weight sensor serial clock input | Number | '' | '' | '' | '' | '2176':{'name':'HX711 SCK', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
103 | 2208 | HX711 DAT | HX711 weight sensor data output | Number | '' | '' | '' | '' | '2208':{'name':'HX711 DAT', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
104 | 2240 | TX20 | TX20 Wind Sensor Input (Tx from sensor) | Number | '' | '' | '' | '' | '2240':{'name':'TX20', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
105 | 1120 | RFSend | RF Emitter (433Mhz module needed; Requires self-compile with RF_SENSOR and USE_RC_SWITCH) | Number | '' | '' | '' | '' | '1120':{'name':'RFSend', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
106 | 1152 | RFrecv | RF Receiver (433Mhz module needed; Requires self-compile with RF_SENSOR and USE_RC_SWITCH) | Number | '' | '' | '' | '' | '1152':{'name':'RFrecv', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
107 | 2272 | Tuya Tx | Tuya Transfer pin | Number | '' | '' | '' | '' | '2272':{'name':'Tuya Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
108 | 2304 | Tuya Rx | Tuya Receive pin | Number | '' | '' | '' | '' | '2304':{'name':'Tuya Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
109 | 2336 | MGC3130 Xfr | MGC3130 E-field Xfr pin | Number | '' | '' | '' | '' | '2336':{'name':'MGC3130 Xfr', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
110 | 2368 | MGC3130 Rst | MGC3130 E-field Reset pin | Number | '' | '' | '' | '' | '2368':{'name':'MGC3130 Rst', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
111 | 832 | SSPI MISO | Software SPI MISO (Display) | Number | '' | '' | '' | '' | '832':{'name':'SSPI MISO', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
112 | 864 | SSPI MOSI | Software SPI MOSI (Display) | Number | '' | '' | '' | '' | '864':{'name':'SSPI MOSI', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
113 | 896 | SSPI SCLK | Software SPI SCLK (Display) | Number | '' | '' | '' | '' | '896':{'name':'SSPI SCLK', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
114 | 928 | SSPI CS | Software SPI CS (Display) | Number | '' | '' | '' | '' | '928':{'name':'SSPI CS', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
115 | 960 | SSPI DC | Software SPI DC (Display) | Number | '' | '' | '' | '' | '960':{'name':'SSPI DC', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
116 | 2400 | RF Sensor | Theo Arendst RF433 Sensor | Number | '' | '' | '' | '' | '2400':{'name':'RF Sensor', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
117 | 2432 | AZ Rx | AZ 7798 CO2 datalogger | Number | '' | '' | '' | '' | '2432':{'name':'AZ Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
118 | 2464 | AZ Tx | AZ 7798 CO2 datalogger | Number | '' | '' | '' | '' | '2464':{'name':'AZ Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
119 | 2496 | MX31855 CS | MAX31855 Thermocouple Sensor Chip Select pin | Number | '' | '' | '' | '' | '2496':{'name':'MX31855 CS', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
120 | 2528 | MX31855 CLK | MAX31855 Thermocouple Sensor Serial Clock pin | Number | '' | '' | '' | '' | '2528':{'name':'MX31855 CLK', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
121 | 2560 | MX31855 DO | MAX31855 Thermocouple Sensor Digital Output pin | Number | '' | '' | '' | '' | '2560':{'name':'MX31855 DO', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
122 | 96 | Button1i | Button inverted | Switch | '' | meta_switch | tags_switch | 'switch' | '96':{'name':'Button1i', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
123 | 97 | Button2i | Button inverted | Switch | '' | meta_switch | tags_switch | 'switch' | '97':{'name':'Button2i', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
124 | 98 | Button3i | Button inverted | Switch | '' | meta_switch | tags_switch | 'switch' | '98':{'name':'Button3i', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
125 | 99 | Button4i | Button inverted | Switch | '' | meta_switch | tags_switch | 'switch' | '99':{'name':'Button4i', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
126 | 128 | Button1in | Button inverted, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '128':{'name':'Button1in', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
127 | 129 | Button2in | Button inverted, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '129':{'name':'Button2in', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
128 | 130 | Button3in | Button inverted, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '130':{'name':'Button3in', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
129 | 131 | Button4in | Button inverted, no pullup resistor | Switch | '' | meta_switch | tags_switch | 'switch' | '131':{'name':'Button4in', 'std_type':item_types.index('Switch'), 'feature':'', 'meta':meta_switch, 'tags':tags_switch, 'icon':'switch'},
130 | 2592 | HLWBL SEL | Energy Monitoring (for example Pow) | Number | '' | '' | '' | '' | '2592':{'name':'HLWBL SEL', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
131 | 2624 | HLWBL SELi | Energy Monitoring (for example Pow) | Number | '' | '' | '' | '' | '2624':{'name':'HLWBL SELi', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
132 | 2656 | HLWBL CF1 | Energy Monitoring (for example Pow) | Number | '' | '' | '' | '' | '2656':{'name':'HLWBL CF1', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
133 | 2688 | HLW8012 CF | HLW8012 Single Phase Energy Monitor Chip CF pin | Number | '' | '' | '' | '' | '2688':{'name':'HLW8012 CF', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
134 | 2720 | BL0937 CF | BL0937 Single Phase Energy Monitor Chip CF pin | Number | '' | '' | '' | '' | '2720':{'name':'BL0937 CF', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
135 | 2752 | MCP39F5 Tx | Energy Monitoring (for example Shelly2) | Number | '' | '' | '' | '' | '2752':{'name':'MCP39F5 Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
136 | 2784 | MCP39F5 Rx | Energy Monitoring (for example Shelly2) | Number | '' | '' | '' | '' | '2784':{'name':'MCP39F5 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
137 | 2816 | MCP39F5 Rst | Energy Monitoring (for example Shelly2) | Number | '' | '' | '' | '' | '2816':{'name':'MCP39F5 Rst', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
138 | 2848 | PN532 Tx | PN532 RFID/NFC Reader Tx pin | Number | '' | '' | '' | '' | '2848':{'name':'PN532 Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
139 | 2880 | PN532 Rx | PN532 RFID/NFC Reader Rx pin | Number | '' | '' | '' | '' | '2880':{'name':'PN532 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
140 | 2912 | SM16716 CLK | SM16716 Pixel LED Serial Clock pin | Number | '' | '' | '' | '' | '2912':{'name':'SM16716 CLK', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
141 | 2944 | SM16716 DAT | SM16716 Pixel LED Data pin | Number | '' | '' | '' | '' | '2944':{'name':'SM16716 DAT', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
142 | 2976 | SM16716 PWR | SM16716 Pixel LED Power pin | Number | '' | '' | '' | '' | '2976':{'name':'SM16716 PWR', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
143 | 3008 | MY92x1 DI | Light Bulb with MY92x controller | Number | '' | '' | '' | '' | '3008':{'name':'MY92x1 DI', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
144 | 3040 | MY92x1 DCKI | Light Bulb with MY92x controller | Number | '' | '' | '' | '' | '3040':{'name':'MY92x1 DCKI', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
145 | 3072 | CSE7766 Tx | CSE7766 Single Phase Energy Monitor Chip Tx pin | Number | '' | '' | '' | '' | '3072':{'name':'CSE7766 Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
146 | 3104 | CSE7766 Rx | CSE7766 Single Phase Energy Monitor Chip Rx pin | Number | '' | '' | '' | '' | '3104':{'name':'CSE7766 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
147 | 3136 | ALux IrRcv | AriLux RGB Controller IR receive (Input) | Number | '' | '' | '' | '' | '3136':{'name':'ALux IrRcv', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
148 | 3200 | Serial Tx | Serial Transfer pin | Number | '' | '' | '' | '' | '3200':{'name':'Serial Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
149 | 3232 | Serial Rx | Serial Receive pin | Number | '' | '' | '' | '' | '3232':{'name':'Serial Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
150 | 3264 | Rotary1a | Rotary Encoder (Mi Desk Lamp) | Number | '' | '' | '' | '' | '3264':{'name':'Rotary1a', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
151 | 3296 | Rotary1b | Rotary Encoder (Mi Desk Lamp) | Number | '' | '' | '' | '' | '3296':{'name':'Rotary1b', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
152 | 3265 | Rotary2a | Rotary Encoder (Mi Desk Lamp) | Number | '' | '' | '' | '' | '3265':{'name':'Rotary2a', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
153 | 3297 | Rotary2b | Rotary Encoder (Mi Desk Lamp) | Number | '' | '' | '' | '' | '3297':{'name':'Rotary2b', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
154 | 3392 | HRE CLOCK | Clock/Power line for HR-E Water Meter | Number | '' | '' | '' | '' | '3392':{'name':'HRE CLOCK', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
155 | 3424 | HRE DATA | Data line for HR-E Water Meter | Number | '' | '' | '' | '' | '3424':{'name':'HRE DATA', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
156 | 3456 | ADE7953_IRQ | ADE7953 IRQ | Number | '' | '' | '' | '' | '3456':{'name':'ADE7953_IRQ', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
157 | 544 | LedLink | Device Status LED | Number | '' | '' | '' | '' | '544':{'name':'LedLink', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
158 | 576 | LedLinki | Device Status LED, inverted | Number | '' | '' | '' | '' | '576':{'name':'LedLinki', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
159 | 3168 | ALux IrSel | For AriLux devices - switches between IR/RF mode | Number | '' | '' | '' | '' | '3168':{'name':'ALux IrSel', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
160 | 480 | Buzzer | Sonoff iFan03 Buzzer | Number | '' | '' | '' | '' | '480':{'name':'Buzzer', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
161 | 512 | Buzzeri | Sonoff iFan03 Buzzer inverted | Number | '' | '' | '' | '' | '512':{'name':'Buzzeri', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
162 | 1024 | OLED Reset | OLED Display Reset | Number | '' | '' | '' | '' | '1024':{'name':'OLED Reset', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
163 | 3488 | SolaxX1 Tx | Solax Inverter Tx pin | Number | '' | '' | '' | '' | '3488':{'name':'SolaxX1 Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
164 | 3520 | SolaxX1 Rx | Solax Inverter Rx pin | Number | '' | '' | '' | '' | '3520':{'name':'SolaxX1 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
165 | 3552 | Zigbee Tx | Zigbee Serial interface Tx | Number | '' | '' | '' | '' | '3552':{'name':'Zigbee Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
166 | 3584 | Zigbee Rx | Zigbee Serial interface Rx | Number | '' | '' | '' | '' | '3584':{'name':'Zigbee Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
167 | 3616 | RDM6300 Rx | RDM6300 RX | Number | '' | '' | '' | '' | '3616':{'name':'RDM6300 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
168 | 3648 | iBeacon Tx | HM17 iBeacon Tx | Number | '' | '' | '' | '' | '3648':{'name':'iBeacon Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
169 | 3680 | iBeacon Rx | HM17 iBeacon Rx | Number | '' | '' | '' | '' | '3680':{'name':'iBeacon Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
170 | 3712 | A4988 DIR | A4988 Motor Direction | Number | '' | '' | '' | '' | '3712':{'name':'A4988 DIR', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
171 | 3744 | A4988 STP | A4988 Step motor | Number | '' | '' | '' | '' | '3744':{'name':'A4988 STP', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
172 | 3776 | A4988 ENA | A4988 Enable motor | Number | '' | '' | '' | '' | '3776':{'name':'A4988 ENA', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
173 | 3808 | A4988 MS1 | A4988 Microstep increment select pin1 | Number | '' | '' | '' | '' | '3808':{'name':'A4988 MS1', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
174 | 3809 | A4988 MS2 | A4988 Microstep increment select pin2 | Number | '' | '' | '' | '' | '3809':{'name':'A4988 MS2', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
175 | 3810 | A4988 MS3 | A4988 Microstep increment select pin3 | Number | '' | '' | '' | '' | '3810':{'name':'A4988 MS3', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
176 | 3904 | DDS238-2 Tx | DDS2382 Serial interface Tx | Number | '' | '' | '' | '' | '3904':{'name':'DDS238-2 Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
177 | 3936 | DDS238-2 Rx | DDS2382 Serial interface Rx | Number | '' | '' | '' | '' | '3936':{'name':'DDS238-2 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
178 | 3968 | DDSU666 Tx | DDSU666 Serial interface Tx | Number | '' | '' | '' | '' | '3968':{'name':'DDSU666 Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
179 | 4000 | DDSU666 Rx | DDSU666 Serial interface Rx | Number | '' | '' | '' | '' | '4000':{'name':'DDSU666 Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
180 | 4032 | SM2135 CLK | SM2135 Clk | Number | '' | '' | '' | '' | '4032':{'name':'SM2135 CLK', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
181 | 4064 | SM2135 DAT | SM2135 Dat | Number | '' | '' | '' | '' | '4064':{'name':'SM2135 DAT', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
182 | 4096 | DeepSleep | DeepSleep wake switch | Number | '' | '' | '' | '' | '4096':{'name':'DeepSleep', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
183 | 4128 | EXS Enable | EXS Dimmer MCU Enable | Number | '' | '' | '' | '' | '4128':{'name':'EXS Enable', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
184 | 4160 | Slave TX | TasmotaClient TX | Number | '' | '' | '' | '' | '4160':{'name':'Slave TX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
185 | 4192 | Slave RX | TasmotaClient RX | Number | '' | '' | '' | '' | '4192':{'name':'Slave RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
186 | 4224 | Slave RST | TasmotaClient Reset Pin | Number | '' | '' | '' | '' | '4224':{'name':'Slave RST', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
187 | 4256 | Slave RSTi | TasmotaClient Reset Inverted | Number | '' | '' | '' | '' | '4256':{'name':'Slave RSTi', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
188 | 4288 | HPMA RX | Honeywell HPMA115S0 Serial Rx | Number | '' | '' | '' | '' | '4288':{'name':'HPMA RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
189 | 4320 | HPMA TX | Honeywell HPMA115S0 Serial Tx | Number | '' | '' | '' | '' | '4320':{'name':'HPMA TX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
190 | 4352 | GPS RX | GPS Serial Tx | Number | '' | '' | '' | '' | '4352':{'name':'GPS RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
191 | 4384 | GPS TX | GPS Serial Tx | Number | '' | '' | '' | '' | '4384':{'name':'GPS TX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
192 | 1344 | DSB OUT | Pseudo Single wire DS18B20 or DS18S20 | Number | '' | '' | '' | '' | '1344':{'name':'DSB OUT', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
193 | 1280 | DHT11 OUT | Pseudo Single wire DHT11, DHT21, DHT22, AM2301, AM2302, AM2321 | Number | '' | '' | '' | '' | '1280':{'name':'DHT11 OUT', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
194 | 4416 | HM10 RX | HM10-BLE-Mijia-bridge Serial | Number | '' | '' | '' | '' | '4416':{'name':'HM10 RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
195 | 4448 | HM10 TX | HM10-BLE-Mijia-bridge Serial | Number | '' | '' | '' | '' | '4448':{'name':'HM10 TX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
196 | 4480 | LE01MR RX | F&F LE-01MR Energy Meter Serial | Number | '' | '' | '' | '' | '4480':{'name':'LE01MR RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
197 | 4512 | LE01MR TX | F&F LE-01MR Energy Meter Serial | Number | '' | '' | '' | '' | '4512':{'name':'LE01MR TX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
198 | 4544 | CC1101 GDO0 | CC1101 RX Pin | Number | '' | '' | '' | '' | '4544':{'name':'CC1101 GDO0', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
199 | 4576 | CC1101 GDO2 | CC1101 TX Pin | Number | '' | '' | '' | '' | '4576':{'name':'CC1101 GDO2', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
200 | 4608 | HRXL RX | Data from MaxBotix HRXL sonar range sensor | Number | '' | '' | '' | '' | '4608':{'name':'HRXL RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
201 | 4640 | MOODL TX | ElectriQ iQ-wifiMOODL Serial TX | Number | '' | '' | '' | '' | '4640':{'name':'MOODL TX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
202 | 4672 | AS3935 | Lightning Detector Interrupt Pin | Number | '' | '' | '' | '' | '4672':{'name':'AS3935', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
203 | 1664 | PMS5003 TX | Plantower PMS5003 Serial interface | Number | '' | '' | '' | '' | '1664':{'name':'PMS5003 TX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
204 | 4928 | Boiler OT Rx | OpenTherm Boiler RX pin | Number | '' | '' | '' | '' | '4928':{'name':'Boiler OT Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
205 | 4960 | Boiler OT Tx | OpenTherm Boiler TX pin | Number | '' | '' | '' | '' | '4960':{'name':'Boiler OT Tx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
206 | 4992 | Windmeter Speed | WindMeter speed counter pin | Number | '' | '' | '' | '' | '4992':{'name':'Windmeter Speed', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
207 | 5056 | BL0940 RX | BL0940 serial interface | Number | '' | '' | '' | '' | '5056':{'name':'BL0940 RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
208 | 5088 | TCP TX | TCP Serial bridge | Number | '' | '' | '' | '' | '5088':{'name':'TCP TX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
209 | 5120 | TCP RX | TCP Serial bridge | Number | '' | '' | '' | '' | '5120':{'name':'TCP RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
210 | 5152 | TELEINFO RX | Teleinfo serial interface | Number | '' | '' | '' | '' | '5152':{'name':'TELEINFO RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
211 | 5184 | TELEINFO Enable | Teleinfo Enable PIN | Number | '' | '' | '' | '' | '5184':{'name':'TELEINFO Enable', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
212 | 5216 | LMT01 | LMT01 input counting pin | Number | '' | '' | '' | '' | '5216':{'name':'LMT01', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
213 | 5248 | IEM3000 TX | IEM3000 Serial interface | Number | '' | '' | '' | '' | '5248':{'name':'IEM3000 TX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
214 | 5280 | IEM3000 RX | IEM3000 Serial interface | Number | '' | '' | '' | '' | '5280':{'name':'IEM3000 RX', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
215 | 5312 | Zigbee RST | Zigbee reset | Number | '' | '' | '' | '' | '5312':{'name':'Zigbee RST', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},
216 | 5344 | DYP Rx | DYP-ME007 Rx pin | Number | '' | '' | '' | '' | '5344':{'name':'DYP Rx', 'std_type':item_types.index('Number'), 'feature':'', 'meta':'', 'tags':'', 'icon':''},

## item types
OH item types
Color
Contact
Dimmer
Group
Image
Location
Number
Player
Rollershutter
String
Switch